## Slide 1: Multisensor System for Analyzing the Thigh Movement During Walking
Group-2

## Slide 2: Group-2 Members
Fakhar ul Islam
Waqas Ahmed Choudhary
Muhammad Waqas Butt
Muhammad Amir Sajjad
Muhammad Hamza

## Slide 3: Sequence
Abstract
Introduction
Proposal
System Description
Goals of the System
Tests Performed
Conclusion

## Slide 4: Abstract
Body movements monitoring
  Helps in preventing, diagnosing possible future diseases
Use of wearable device comprising multiple sensors
  Inertial Sensor
  Strain Sensor
  Microcontroller (Ardunio)
  Bluetooth Module

## Slide 5: Introduction
Interests in wearable devices increasing
Walking! One of the most important daily activities, during rehabilitation
Use of Inertial motion sensors for healthcare applications on the rise
  Accelerometers
  Gyroscopes
  Magnetometers

## Slide 6: Proposal
Multisensor system for measuring thigh movements all-day long
Measurements of Range of Motion of the hip
  Abnormal posture detection
  Identifying best walking style – forward / backward leaning / straight
An unobtrusive and portable system
  No complex calibration procedure
  No heavy algorithm implemented
  Long-life battery
  Real-time monitoring through PC, smartphone etc.

## Slide 7: System Description
Wearable system
  Inertial sensor
  Strain sensor
  Electronics for conditioning & transmitting sensor signals
  Battery
Personal Computer
  Data collection
  Custom Visual Interface
Inertial Measurement Unit (Inter integrated Cuircuit Protocal)

## Slide 8: Goal
To measure the flexion and the extension of the hip by measuring the angle between the vertical and the thigh segment
Muscle activity monitored and following formula used
  )
  R  Resistance of stretch sensor
  Ro  Initial resistance of stretch sensor
  Lo  Length of stretch sensor
  GF  Gauge Factor of the sensor
  ΔL  Elongation of sensor
MPU
Electonics,
Battries
Strain Sensor
X Sence

## Slide 9: Tests Performed
On equipment
  Stress sensor tests
    Strain ramp
    Cycle loading/unloading
    Maintained strained levels for prolonged time
    Temperature test (+ 1.5 % difference in resistance)
On person best position for sensors
  Upper Posterior Thigh
  Upper Anterior Thigh

## Slide 10: Conclusion
A new system is introduced
System validated through different tests on different subjects
Portable, easy-to-use and unobtrusive system
Application possibilities
  Home therapy rehabilitation
  Continuous monitoring of lower limb musculoskeletal disorders / injuries
  Tele-assistance
  Domestic applications

## Slide 11: Thank You